IoT Smart Liquid Cooling System David Tapia Caicedo

Supervisor:

Content

1.	Introduction & Background	2

1.1	Problem definition	2

1.2	Context	2

1.3	Relevance	2

2.	Design Brief	3

2.1 Aim	3

2.2 Objectives	3

Sensor interfacing:	3

Cloud Telemetry:	3

Threshold Processing:	3

# Introduction & Background

## Problem definition

High-density server racks are highly sensitive to thermal output and humidity fluctuations, which can lead to thermal throttling, severe hardware degradation, or catastrophic failure. Current static cooling solutions lack dynamic adaptability and fail to provide immediate, on-site environmental alerts to technicians.

Therefore, an automated, smart environmental monitoring system is required. This solution must dynamically manage heat dissipation, monitor moisture levels, and provide real-time remote monitoring through cloud telemetry, complemented by local visual status indicators for immediate physical feedback.

## Context

The growing reliance on cloud services has necessitated a rapid expansion of data centres. Within these facilities, the high-density physical proximity of server racks generates extreme heat and creates volatile environmental conditions.

Beyond temperature, inadequate humidity levels pose severe risks to IT infrastructure: excessive dryness increases the risk of electrostatic discharge, while high humidity leads to condensation and hardware short-circuits. Furthermore, traditional environmental control systems often operate at fixed speeds and lack immediate local status alerts, leading to significant energy waste and delayed maintenance responses.

## Relevance

The relevance of this project lies in the ecological necessity to save energy that would otherwise be wasted. Additionally, humidity control is key to saving money on server replacements, preventing short circuits that turn hardware into electronic waste (e-waste).

Finally, this project is relevant to demonstrate a strong understanding of current technologies, such as IoT, Cloud, and Edge Computing.

# Design Brief

## 2.1 Aim

The main purpose of this project is to design and develop a smart environmental monitoring system that reduces energy and financial waste, while encouraging companies to adopt more sustainable practices.

## 2.2 Objectives

### Sensor interfacing:

To interface temperature and humidity sensors with the MSP430 microcontroller to accurately sample the internal environment of a simulated server rack.

### Cloud Telemetry:

To implement an MQTT-based communication link transmitting real-time environment data to a remote cloud platform for continuous monitoring.

### Threshold Processing: